## Slide 1: 1. Physics and Physical Measurement

## Slide 2: Topic Outline
The skills in this section are important for your internally-assessed lab reports
The graphing skills in this section are important for Paper 2, Section A
Section | Recommended Time | Giancoli Sections
1.1 The realm of physics | 1h | 1.1, 1.2, 1.3, 1.4, 1.5, 1.7
1.2 Measurement and uncertainties | 2h | 1.4
1.3 Vectors and scalars | 2h | 3.1, 3.2, 3.3

## Slide 3: Orders of Magnitude
Metric prefixes are used to express large or small numbers in a form that is more manageable
Prefix | Symbol | Order of Magnitude
peta | P | 1015
tera | T | 1012
giga | G | 109
mega | M | 106
kilo | k | 103
milli | m | 10-3
micro | m | 10-6
nano | n | 10-9
pico | p | 10-12
femto | f | 10-15

## Slide 4: Examples of Orders of Magnitude
Example | Order | Example | Order
Diameter of a sub-nuclear particle |  | Mass of a car | 
Diameter of an electron |  | Mass of Earth | 
Diameter of an atom |  | Mass of Sun | 
Height of a person |  | Mass of Universe | 
Diameter of Earth |  | Time for light to travel across nucleus | 
Diameter of Sun |  | Time for light to travel from Sun to Earth | 
Distance light travels in a year |  | Time for light to travel from Sun to Pluto | 
Diameter of visible Universe |  | Average human life span | 
Mass of an electron |  | Time for light to travel from Alpha Centuri to Earth | 
Mass of an atom |  | Age of Universe | 

## Slide 5: Examples of Orders of Magnitude
Example | Order | Example | Order
Diameter of a sub-nuclear particle | 10-15 m | Mass of a car | 103 kg
Diameter of an electron | 10-13 m | Mass of Earth | 1025 kg
Diameter of an atom | 10-10 m | Mass of Sun | 1030 kg
Height of a person | 100 m | Mass of Universe | 1050 kg
Diameter of Earth | 107 m | Time for light to travel across nucleus | 10-23 s
Diameter of Sun | 109 m | Time for light to travel from Sun to Earth | 102 s
Distance light travels in a year | 1016 m | Time for light to travel from Sun to Pluto | 104 s
Diameter of visible Universe | 1025 m | Average human life span | 109 s
Mass of an electron | 10-30 kg | Time for light to travel from Alpha Centuri to Earth | 108 s
Mass of an atom | 10-27 kg | Age of Universe | 1018 s

## Slide 6: Standard Form
In standard form, we write one digit before the decimal place and then the appropriate order of magnitude
476 293 000 = 4.76293 x 108
0.000000516 = 5.16 x 10-7
Orders of magnitude can be used to estimate or compare measurements

## Slide 7: Significant Figures
Significant figures are digits that are not merely placeholders
Number | Number of Significant Figures
4 | 
400 | 
0.000000004 | 
4.0 | 
127 000 | 
0.02365 | 
0.0236500 | 
500 000.00007 | 

## Slide 8: Significant Figures
Significant figures are digits that are not merely placeholders
Number | Number of Significant Figures
4 | 1
400 | 1
0.000000004 | 1
4.0 | 2
127 000 | 3
0.02365 | 4
0.0236500 | 6
500 000.00007 | 11

## Slide 9: Rounding
Calculations are rounded to the same number of significant figures as the least accurate value in the calculation
2.430923485498 + 3.1 = 5.5 (2 s.f.)

## Slide 10: Exercises
Worksheet 1: Significant figures and standard form

## Slide 11: SI Base Units
Physicists have an agreed system of units, called ‘Le Système International d’Unités’ (S.I. Units)
There are seven base units, all other units are derived from these
Quantity | Quantity Symbol | Unit | Unit Symbol
Length | l | metre | m
Mass | m | kilogram | kg
Time | t | second | s
Electric current | I | ampere | A
Temperature | T | Kelvin | K
Amount of substance | n | mole | mol
Luminous intensity | lv | candela | cd

## Slide 12: Derived Units
Derived units are formed from a combination of SI base units
To derive a unit for a variable, we use the equation for that variable
F = m x a
So the units for force are kg x ms-2 = kgms-2 = N
Note: you must use negative index notation for units, e.g. use ms-2 not m/s2

## Slide 13: Derived Units
Quantity | Equation | Derived Unit | Other Unit
Force | F = ma | kgms-2 | N
Energy | W = Fd |  | 
Torque | t = Fr |  | 
Power | P = W/t |  | 
Charge | I = q/t |  | 
Electric Field Strength | E = F/q |  | 
Voltage | P = VI |  | 
Resistance | V = IR |  | 

## Slide 14: Derived Units
Quantity | Equation | Derived Unit | Other Unit
Force | F = ma | kgms-2 | N
Energy | W = Fd | kgm2s-2 | J
Torque | t = Fr | kgm2s-2 | Nm
Power | P = W/t | kgm2s-3 | W or Js-1
Charge | I = q/t | As | C
Electric Field Strength | E = F/q | kgms-3A-1 | Vm-1 or NC-1
Voltage | P = VI | kgm2s-3A-1 | V
Resistance | V = IR | kgm2s-3A-2 | W

## Slide 15: Standard Measures
A standard measure is used as a reference
It must be:
  Unchanging with time
  Readily accessible
  Reproducible
The standard second is the time for
9 192 613 770 vibrations of the cesium-133 atom

## Slide 16: Errors
Errors are sources of uncertainty in a measurement
There are two main classes of error:
  Systematic errors are the result of the equipment or method (system), e.g. zero error, poorly calibrated instruments
  Random errors occur randomly and are reduced by repeating measurements, e.g. normal variations, parallax error, insensitive instruments

## Slide 17: Accuracy and Precision
Accuracy is an indication of how close a value is to the true value (how close it is to the bull’s eye)
Precision is an indication of how similar repeated measurements are (the ‘grouping’ of shots at a target)

## Slide 18: Uncertainties
The uncertainty is an estimate of the possible inaccuracy in a measurement
  We estimate the uncertainty in a measurement to be half the ‘limit of reading’, i.e. half the smallest scale division
  If there is possibility for error at either end of the measurement, the uncertainty is the smallest scale division
  If repeated measurements are made, the uncertainty is half the range of the measurements
Uncertainties are given to 1 s.f. only

## Slide 19: Practical
  Observe zero error with a force meter
  Observe parallax with an analogue meter
  Time one oscillation of a pendulum then compare with measuring 10 oscillations and dividing by 10
  Use Vernier calipers to measure the thickness of a piece of paper
  Use Vernier calipers to measure the diameter of a marble, make 5 measurements to give a value and an uncertainty

## Slide 20: Vernier Scales

## Slide 21: Exercises
Worksheet 2: Uncertainties
Giancoli pp. 16-17 (section 1.4, 1.5-1.7)

## Slide 22: Absolute and Percentage Uncertainties
The absolute uncertainty is given in the same units as the measurement
The percentage uncertainty is expressed as a percentage of the measurement
2.3 ± 0.5 cm = 2.3 cm ± 20%

## Slide 23: Combining Uncertainties
When adding or subtracting measurements, add the absolute uncertainties
When multiplying or dividing measurements, add the percentage uncertainties
When raising a value to a power, multiply the percentage uncertainty by the absolute value of the power

## Slide 24: Practical
Measure the volume of a coin
Process your uncertainties to give an uncertainty with the final measurement

## Slide 25: Exercises
Worksheet 3: Combining uncertainties

## Slide 26: Graphing Skills
When drawing a graph:
  Use pencil, ruler and graph paper
  Use suitable sized axes
  Mark values with a linear scale
  Label the axes, including units
  Give a descriptive title
  Plot data points
  Draw a best-fit trend line

## Slide 27: Graphing Skills
To find the gradient:
  Find two places where the best-fit line passes through easy-to-read points on the graph
  Calculate the rise (Dy)
  Calculate the run (Dx)
  Calculate the gradient (Dy/Dx)

## Slide 28: Graphing Skills
To graph uncertainties:
  Error bars are used to represent uncertainties in a measurement
  The uncertainty in the y-value is drawn vertically
  The uncertainty in the x-value is drawn horizontally
The best-fit line is the line that best represents the data
The error line is the steepest (or least steep) line that can be drawn through the error bars

## Slide 29: Graphing Skills
Interpolation is finding a value between plotted points
Extrapolation is finding a value beyond plotted points

## Slide 30: Linear: y a x
If the y-intercept is zero, we can also say that y is directly proportional to x
Chart: Restoring force of a spring for varying spring extension
| 0.0 | 1.0 | 2.0 | 3.0
 | 0 | 3 | 6 | 9

## Slide 31: Squared: y a x2
Chart: Distance an object falls versus time
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0
 | 0 | 5 | 20 | 45 | 80
Plotting distance vs. time2 will give a straight line graph of the form y = mx + c

## Slide 32: Squared: y a x2
d = 5t2 + 0
y = mx + c
Chart: Distance vs. time squared for a falling object
| 0.0 | 1.0 | 4.0 | 9.0 | 16.0
 | 0 | 5 | 20 | 45 | 80

## Slide 33: Square Root: y a √x
Plotting time vs. √distance will give a straight line graph of the form y = mx + c
Chart: Time an object takes to fall versus distance
| 0.0 | 5.0 | 20.0 | 45.0 | 80.0
 | 0 | 1 | 2 | 3 | 4

## Slide 34: Inversely Proportional: y a 1/x
Plotting volume vs. 1/pressure will give a straight line graph of the form y = mx + c
Chart: Volume versus pressure for air in a syringe
| 1.0 | 1.25 | 1.5 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0
 | 1 | 0.8 | 0.66667 | 0.5 | 0.33333 | 0.25 | 0.2 | 0.16667

## Slide 35: Inverse Square: y a 1/x2
Plotting intensity vs. 1/distance2 will give a straight line graph of the form y = mx + c
Chart: Luminous intensity of a light bulb at different distances from the bulb
| 1.0 | 1.25 | 1.5 | 2.0 | 3.0 | 4.0 | 5.0
 | 1 | 0.64 | 0.44444 | 0.25 | 0.1111 | 0.0625 | 0.04

## Slide 36: Sinusoidal
Sine and cosine graphs; these will be covered more in Topic 4

## Slide 37: Exponential (AHL): y a ex
Exponential decay of a radioactive sample
N = N0e-kt
Chart: Exponential decay of an imaginary radioactive substance with time
| 0.0 | 0.5 | 1.0 | 2.0 | 3.0 | 4.0
 | 100 | 22.313 | 4.9787 | 0.24788 | 0.01234 | 0.0006144

## Slide 38: Exponential (AHL)
Taking the natural log of both sides gives
lnN = lnN0 + lne-kt
lnN = lnN0 - kt
lnN = -kt + lnN0
Plotting lnN against t gives an equation of the form y = mx + c, with a gradient of –k and a y-intercept of lnN0

## Slide 39: Exponential (AHL)
Chart: lnN versus time for the radioactive decay of an imagineary substance
| 0.0 | 0.5 | 1.0 | 2.0 | 3.0 | 4.0
 | 4.605 | 3.105 | 1.605 | -1.3948 | -4.3949 | -7.3949
lnN = -kt + lnN0

## Slide 40: Logarithmic
Don’t yet have a good example, sorry

## Slide 41: Exercises
Graphing Relationships (Rutter pp. 13-27)

## Slide 42: Vectors and Scalars
Scalar quantities only have magnitude (size)
  e.g. distance, speed, mass, time,, charge, energy
  Scalars are added algebraically
Vector quantities have magnitude and direction
  e.g. displacement, velocity, force, momentum
  In IB, a vector is represented in bold, italicised print
  Vectors are added in a particular way

## Slide 43: Vector Addition
Vectors are added ‘head to tail’ to find the resultant vector
For example, adding vectors a and b
If this forms a right-angled triangle, use Pythagoras’ Theorum to find the length of the resultant, and trigonometry to find the angle
a
a + b
b
a
b

## Slide 44: Vector Subtraction
To subtract one vector from another, switch the direction of the arrow of the vector that is to be subtracted, then add the vectors
For example, a - b
a
-b
b
-b
a - b
a

## Slide 45: Multiplying a Vector by a Scalar
To multiply a vector by a scalar, keep the direction of the vector the same and multiply the magnitude by the scalar
For example, 3 x a
a
3a

## Slide 46: Multiplying Two Vectors (AHL)
The dot product is when two vectors are multiplied to give a scalar
For example W = F x d
Work is a scalar, but force and displacement are vectors
Work is calculated by
W = F . d = |F| x |d| x cosq
Where q is the angle between F and d

## Slide 47: Multiplying Two Vectors (AHL)
The cross product is when two vectors are multiplied to give another vector
For example, F = qvB
Force, velocity and magnetic field strength are all vectors (charge is a scalar)
The cross product vB is calculated
vB = |v| |B| sinq
Where q is the angle between F and d
The direction of the resultant is at right angles to both v and B, given by the right-hand-thumb rule

## Slide 48: X- and Y-Components of a Vector
A vector can be resolved into its horizontal and vertical components
We use trigonometry to find the lengths of the x- and y-components

## Slide 49: Exercises
Giancoli p. 70-71 (sections 3.2-3.4)

## Slide 50: Revision
Questions from Paper 2, Section A
Practice internal – Simple Pendulum

## Slide 51: Practical - Method
Set up a simple pendulum
Vary the length and measure the time period
Use five values of the independent variable
Use repeated measures (10 swings then divide by 10) for each measurement of period
Make five measurements of period for each length
Plot a graph

## Slide 52: Practical – Results Table
Length (m) ± 0.001 m | Time for 10 Swings (s) | Time for 1 Swing (s) | Uncertainty in Period (s)
 | <5 measurements> | <average> | <half range>

## Slide 53: Practical - Graphing
Plot a graph of period vs. length
Include error bars in your graph
Draw a best-fit line
Transform your graph to give a straight line (i.e. plot T vs. √length)
Transform your uncertainties in length
Include error bars in your transformed graph
Draw a best-fit line
Draw an error line
Find the equation of both lines
Form a final equation, including uncertainties, for your experimental data

## Slide 54: Practical – Write up
See exemplar